## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 58.85 | 40.4129 | 30.475 | 16.0375 | 1.6 | 1.6 | 1.6 | Prolongement nucléaire | 0 | 0 | 10.885 | 15.5679 | 13.3071 | 1.1304 | 0 | 0 | 0
CCGT | 6.164 | 6.164 | 6.3132 | 5.5252 | 3.3402 | 0.72424 | 0.26142 | 0.26141 | 0.11218 | Nucléaire EPR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 1.85 | 1.3 | 4.2884 | 7.0917 | 6.0417 | 6.0417 | 6.0417 | 2.8033 | 5.713e-06 | CCGT | 0 | 2.1814e-06 | 0.14923 | 0 | 0 | 0 | 0.11218 | 0 | 0
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 0 | 3.2384 | 2.8032 | 0 | 0 | 3.161e-06 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 0 | 3.15 | 3.75 | 12.208 | 10.492 | 7.2 | 7.3975
PV Sol | 4.6386 | 15.6 | 15.6 | 18.75 | 22.5 | 30.0694 | 36 | 43.2 | 47.4475 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0 | 6.4 | 0 | 0
PV Toitures | 5.4624 | 10.2327 | 15.002 | 24.752 | 34.502 | 44.252 | 56.002 | 54.0515 | 54.002 | PV Grandes Toitures | 3.8466 | 2.0767 | 2.0767 | 2.75 | 2.75 | 6.5966 | 6.8267 | 0.12622 | 2.7005
Eolien en mer Posé | 0 | 2.1 | 5 | 5.8875 | 6.775 | 7.6625 | 9.45 | 8.55 | 8.55 | PV Petites Toitures | 1.6158 | 2.8238 | 3.1278 | 8.6127 | 7.3898 | 11.2936 | 13.8851 | 3.0347 | 6.6424
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75 | Eolien en mer Posé | 0 | 2.1 | 2.9 | 0.8875 | 0.8875 | 0.8875 | 3.8875 | 2 | 0.8875
Eolien Terrestre | 17.391 | 23.6955 | 30 | 37.7009 | 41.125 | 55.4108 | 57.75 | 69.3 | 82.7892 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 0.9375 | 0.9375 | 0.9375 | 1.6875 | 0.25 | 0.9375
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 6.3268 | 7.0824 | 12.3788 | 7.4742 | 22.1485 | 8.666 | 18.6324 | 25.868
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 0.24616 | 0 | 0 | 0.75384 | 0 | 0
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0 | 1.5145 | 0 | 0 | 2.4389e-05 | 1.3848e-06 | 0
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 5.4262 | 5.4262 | 5.4262 | 6.18 | 6.18 | 6.18
Batteries | 2.244e-06 | 3.277e-06 | 3.9064e-06 | 1.5145 | 1.5145 | 1.5145 | 1.5145 | 2.6566e-05 | 2.6881e-05
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 0.89085 | 1.7817 | 6.8449 | 11.9081 | 16.9713 | 22.0345 | 22.0345 | 22.0345
Electrolyseurs quasi-base | 0 | 0.090592 | 0.18119 | 0.21993 | 0.25868 | 0.29742 | 0.33617 | 0.33617 | 0.33617
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 10.885 | 26.4529 | 28.875 | 14.4375 | 0 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 15.6 | 18.75 | 22.5 | 30.0694 | 29.6 | 36.8 | 41.0475
PV Sol tracker | 0 | 3.0691e-10 | 8.8218e-10 | 4.8998e-09 | 8.2468e-09 | 1.889e-08 | 6.4 | 6.4 | 6.4
PV Sol total | 4.6386 | 15.6 | 15.6 | 18.75 | 22.5 | 30.0694 | 36 | 43.2 | 47.4475
PV Grandes Toitures | 3.8466 | 5.9233 | 8 | 10.75 | 13.5 | 16.25 | 21 | 19.0495 | 19
PV Petites Toitures | 1.6158 | 4.3094 | 7.002 | 14.002 | 21.002 | 28.002 | 35.002 | 35.002 | 35.002
PV Toitures total | 5.4624 | 10.2327 | 15.002 | 24.752 | 34.502 | 44.252 | 56.002 | 54.0515 | 54.002
Eolien Terrestre | 17.391 | 23.6955 | 30 | 37.7009 | 41.125 | 55.4108 | 57.75 | 69.3 | 82.7892
Eolien en mer Posé | 0 | 2.1 | 5 | 5.8875 | 6.775 | 7.6625 | 9.45 | 8.55 | 8.55
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 80.0971 | 94.3209 | 116.7468 | 135.4959 | 168.9261 | 191.6709 | 207.5704 | 225.2576
Pour toutes les années, les 25,3 GW de capacité Hydro intègrent les 5,2 GW de STEP identifiées en 2020.

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8917 | 395.3564 | 346.4364 | 245.5656 | 184.0341 | 96.4106 | 10.0988 | 9.9088 | 9.722 | Nucléaire | 408.8917 | 395.3564 | 346.4364 | 245.5656 | 184.0341 | 96.4106 | 10.0988 | 9.9088 | 9.722
CCGT | 0.76058 | 0.16029 | 0.29696 | 0.38797 | 0.34861 | 0.27035 | 0.35762 | 0.29273 | 0.096588 | Turbines Gaz | 0.76321 | 0.16563 | 0.33196 | 0.46922 | 0.44784 | 0.50827 | 0.781 | 0.44924 | 0.09661
OCGT | 0.0026291 | 0.0053452 | 0.034993 | 0.081254 | 0.099227 | 0.23793 | 0.42338 | 0.1565 | 2.1531e-05 | Autres thermiques | 21.2151 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 12.5349 | 34.1027 | 39.6674 | 56.4249 | 72.7196 | 94.3612 | 118.1986 | 123.9721 | 128.1236
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 52.32 | 70.4779 | 94.6005 | 107.2494 | 152.8915 | 159.5439 | 192.0235 | 229.2964
PV Sol | 5.9719 | 21.0135 | 21.0135 | 24.8436 | 29.2401 | 38.4263 | 47.3644 | 55.5662 | 60.4997 | Eolien en mer | 0 | 9.613 | 20.1947 | 26.8345 | 33.7761 | 40.7177 | 50.7967 | 48.1116 | 48.0556
PV Toitures | 6.563 | 13.0892 | 18.6539 | 31.5813 | 43.4795 | 55.9349 | 70.8342 | 68.4059 | 67.6238 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5254
Eolien en mer Posé | 0 | 6.9073 | 16.5627 | 19.7293 | 22.8958 | 26.0624 | 32.44 | 29.7092 | 29.6531 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3567 | 18.4024 | 18.4024
Eolien Terrestre | 34.7883 | 52.32 | 70.4779 | 94.6005 | 107.2494 | 152.8915 | 159.5439 | 192.0235 | 229.2964 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8917 | 395.3564 | 346.4364 | 245.5656 | 184.0341 | 96.4106 | 10.0988 | 9.9088 | 9.722
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 0.76321 | 0.16563 | 0.33196 | 0.46922 | 0.44784 | 0.50827 | 0.781 | 0.44924 | 0.09661
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 21.2151 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 118.4426 | 167.5697 | 201.8739 | 249.3939 | 285.2791 | 359.5043 | 400.0733 | 435.6412 | 477.0093
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5254 | Part renouvelable | 21.56% | 29.4% | 36.5% | 50.13% | 60.73% | 78.77% | 97.35% | 97.68% | 97.98%
Total | 549.3126 | 569.9005 | 553.0645 | 497.4645 | 469.761 | 456.4232 | 410.9531 | 445.9992 | 486.8279 | Part nucléaire | 74.44% | 69.37% | 62.64% | 49.36% | 39.18% | 21.12% | 2.457% | 2.222% | 1.997%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6787 | 439.7471 | 411.8604 | 405.2164 | 400.0019 | 405.229 | 401.386 | 411.6796 | 420.9482
STEP | 3.0649 | 3.6563 | 4.8939 | 6.4884 | 6.7908 | 6.9338 | 8.0287 | 8.4876 | 8.6239
Batteries | 9.1073e-06 | 1.1437e-05 | 1.0913e-05 | 0.58995 | 0.62821 | 0.63822 | 0.65181 | 2.1796e-05 | 2.4399e-05
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 4.4997 | 9.1837 | 16.2827 | 24.3932 | 39.6014 | 48.1457 | 55.7274 | 62.551
Electrolyseurs quasi-base | 0 | 0.54366 | 1.1021 | 1.2192 | 1.4216 | 1.6657 | 1.8659 | 1.8979 | 1.9311
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.0135 | 21.0135 | 24.8436 | 29.2401 | 38.4263 | 36.1068 | 44.3086 | 49.2421
PV Sol tracker | 0 | 2.1771e-10 | 6.2262e-10 | 3.4648e-09 | 6.0223e-09 | 1.5465e-08 | 11.2576 | 11.2576 | 11.2576
PV Sol total | 5.9719 | 21.0135 | 21.0135 | 24.8436 | 29.2401 | 38.4263 | 47.3644 | 55.5662 | 60.4997
PV Grandes Toitures | 4.5458 | 7.5237 | 10.2451 | 13.7429 | 17.0826 | 20.7869 | 26.4356 | 23.8511 | 23.6547
PV Petites Toitures | 2.0172 | 5.5656 | 8.4088 | 17.8384 | 26.3969 | 35.148 | 44.3986 | 44.5548 | 43.9691
PV Toitures total | 6.563 | 13.0892 | 18.6539 | 31.5813 | 43.4795 | 55.9349 | 70.8342 | 68.4059 | 67.6238
Eolien Terrestre | 34.7883 | 52.32 | 70.4779 | 94.6005 | 107.2494 | 152.8915 | 159.5439 | 192.0235 | 229.2964
Eolien en mer Posé | 0 | 6.9073 | 16.5627 | 19.7293 | 22.8958 | 26.0624 | 32.44 | 29.7092 | 29.6531
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3567 | 18.4024 | 18.4024
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5254
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 118.4426 | 167.5697 | 201.8739 | 249.3939 | 285.2791 | 359.5043 | 400.0733 | 435.6412 | 477.0093
Les données permettent de vérifier :
Production totale + Production du stockage + Imports = Consommation domestique + Consommation du stockage + Exports + Ecrêtement
Consommation domestique = Somme des composantes sectorielles de la demande qui incluent les pertes
Les pertes représentent 8% de chacune des consommations par usage présentées dans l'onglet Consommation

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 3.6845 | 4.9647 | 5.0603 | 4.6826 | 4.8955 | 4.9463 | 4.9464 | 4.9464 | Chauffage Joule | 48.5575 | 36.85 | 24.8263 | 20.2435 | 15.6102 | 13.9885 | 12.3669 | 12.3669 | 12.3669
Chauffage Joule non-pilotable | 48.5575 | 33.1655 | 19.8616 | 15.1831 | 10.9276 | 9.093 | 7.4205 | 7.4205 | 7.4205 | Chauffage PAC | 12.2157 | 22.1811 | 32.2237 | 32.23 | 32.235 | 31.0526 | 29.8683 | 29.8722 | 29.8731
Chauffage PAC pilotable | 0 | 2.2215 | 6.4563 | 8.0732 | 9.6889 | 10.8872 | 11.9651 | 11.9691 | 11.9699 | ECS et produits blancs | 117.936 | 106.1271 | 94.3342 | 85.82 | 77.3054 | 72.5966 | 67.8862 | 67.8864 | 67.8872
Chauffage PAC non-pilotable | 12.2157 | 19.9596 | 25.7674 | 24.1567 | 22.5461 | 20.1654 | 17.9032 | 17.9032 | 17.9031 | Climatisation | 25.812 | 20.2659 | 14.72 | 14.1421 | 13.5642 | 13.4993 | 13.4344 | 13.4345 | 13.4345
ECS pilotable | 0 | 10.322 | 18.5081 | 17.1496 | 15.7547 | 15.6095 | 15.8129 | 15.8131 | 15.8137 | Véhicules électriques | 0.32384 | 7.7721 | 15.2193 | 20.452 | 25.6842 | 30.9133 | 36.1402 | 36.1408 | 36.1417
ECS non-pilotable | 27.432 | 14.2819 | 3.2724 | 2.7972 | 2.3587 | 2.2342 | 1.7604 | 1.7604 | 1.7604 | Industrie | 127.4018 | 116.7289 | 106.056 | 98.253 | 90.45 | 82.647 | 74.844 | 74.844 | 74.844
Produits blancs pilotables | 0 | 8.1372 | 10.8641 | 11.1794 | 11.8189 | 12.0263 | 12.5588 | 12.5589 | 12.5591 | Autres | 135.432 | 123.0066 | 110.5812 | 110.4246 | 110.268 | 104.7654 | 99.2628 | 99.2628 | 99.2628
Produits blancs non-pilotables | 90.504 | 73.386 | 61.6896 | 54.6938 | 47.3731 | 42.7265 | 37.7541 | 37.7541 | 37.7541 | Electrolyseurs | 0 | 6.8153 | 13.8998 | 23.6513 | 34.8849 | 55.7663 | 67.5833 | 77.872 | 87.138
Climatisation pilotable | 0 | 2.0263 | 2.9437 | 3.5352 | 4.0689 | 4.7243 | 5.3733 | 5.3733 | 5.3734
Climatisation non-pilotable | 25.812 | 18.2396 | 11.7763 | 10.6069 | 9.4953 | 8.775 | 8.0611 | 8.0611 | 8.0611 | Consommation domestique | 467.6787 | 439.7471 | 411.8604 | 405.2164 | 400.0019 | 405.229 | 401.386 | 411.6796 | 420.9482
VE pilotables | 0.038777 | 1.3967 | 3.7998 | 7.1506 | 10.2635 | 15.444 | 21.6698 | 21.6704 | 21.6713
VE non-pilotables | 0.28507 | 6.3754 | 11.4196 | 13.3014 | 15.4207 | 15.4693 | 14.4704 | 14.4704 | 14.4704
Industrie pilotable | 25.4803 | 35.0187 | 42.4224 | 41.7575 | 40.7025 | 39.2573 | 37.422 | 37.422 | 37.422
Industrie non-pilotable | 101.9214 | 81.7102 | 63.6336 | 56.4955 | 49.7475 | 43.3897 | 37.422 | 37.422 | 37.422 | Résumé Consommation pilotable | Consommation en TWh
Autres (non-pilotable) | 135.432 | 123.0066 | 110.5812 | 110.4246 | 110.268 | 104.7654 | 99.2628 | 99.2628 | 99.2628 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 6.0807 | 12.4105 | 22.0037 | 32.9638 | 53.5154 | 65.0618 | 75.3073 | 84.5284 | Chauffage pilotable | 0 | 5.906 | 11.421 | 13.1336 | 14.3716 | 15.7828 | 16.9114 | 16.9154 | 16.9163
Electrolyseurs quasi-base | 0 | 0.73467 | 1.4893 | 1.6476 | 1.9211 | 2.2509 | 2.5215 | 2.5647 | 2.6096 | Climatisation pilotable | 0 | 2.0263 | 2.9437 | 3.5352 | 4.0689 | 4.7243 | 5.3733 | 5.3733 | 5.3734
[10 empty] | ECS et produits blancs pilotables | 0 | 18.4592 | 29.3722 | 28.329 | 27.5736 | 27.6358 | 28.3717 | 28.372 | 28.3727
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Véhicules électriques pilotables | 0.038777 | 1.3967 | 3.7998 | 7.1506 | 10.2635 | 15.444 | 21.6698 | 21.6704 | 21.6713
STEP | 3.7839 | 4.514 | 6.0419 | 8.0105 | 8.3838 | 8.5603 | 9.912 | 10.4785 | 10.647 | Industrie pilotable | 25.4803 | 35.0187 | 42.4224 | 41.7575 | 40.7025 | 39.2573 | 37.422 | 37.422 | 37.422
Batteries | 1.7869e-06 | 3.425e-06 | 6.7055e-06 | 0.69996 | 0.74443 | 0.75629 | 0.77187 | 2.5806e-05 | 2.888e-05 | Consommations non-pilotables | 442.1596 | 370.1248 | 308.0016 | 287.6593 | 268.137 | 246.6184 | 224.0544 | 224.0544 | 224.0544
[10 empty] | Electrolyseurs optimisés | 0 | 6.0807 | 12.4105 | 22.0037 | 32.9638 | 53.5154 | 65.0618 | 75.3073 | 84.5284
[10 empty] | Electrolyseurs quasi-base | 0 | 0.73467 | 1.4893 | 1.6476 | 1.9211 | 2.2509 | 2.5215 | 2.5647 | 2.6096
[10 empty] | Consommation gaz PAC hybrides | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 98.6803 | 146.3144 | 168.3273 | 143.7338 | 141.8048 | 146.1141 | 140.6913 | 165.4539 | 191.3325
Imports | 17.5079 | 17.0261 | 28.9441 | 54.6155 | 75.7255 | 99.9133 | 136.4684 | 138.1183 | 134.0437
Bilan exportateur net | 81.1724 | 129.2884 | 139.3832 | 89.1183 | 66.0793 | 46.2008 | 4.2228 | 27.3357 | 57.2888
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Total | 9.6291e-07 | 0.012853 | 0.68063 | 1.5095 | 1.9848 | 3.2734 | 3.3818 | 5.0166 | 6.5835

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 30.1588 | 24.1093 | 20.2154 | 41.2976 | 52.1829 | 60.2406 | 69.9401 | 62.7734 | 57.414
Moyenne énergie | 31.0252 | 26.7735 | 22.9227 | 44.5276 | 53.458 | 61.352 | 71.69 | 64.3175 | 59.0887

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!