## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 59.35 | 49.0486 | 39.4525 | 26.835 | 11.95 | 1.6 | 1.6 | Prolongement nucléaire | 0 | 0 | 11.385 | 23.7036 | 14.1489 | 11.0861 | 0 | 0 | 0
CCGT | 6.164 | 6.164 | 6.5056 | 5.7176 | 3.5326 | 0.91658 | 0.34158 | 0.34158 | 3.3462e-07 | Nucléaire EPR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 1.85 | 1.3 | 2.093 | 2.093 | 1.043 | 1.043 | 1.043 | 2.9892e-07 | 2.8768e-07 | CCGT | 0 | 0 | 0.34158 | 0 | 0 | 0 | 0 | 0 | 0
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 0 | 1.043 | 0 | 0 | 0 | 0 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 4.4 | 8.75 | 8.75 | 12.7308 | 1.7786 | 12.7643 | 23.95
PV Sol | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 46.25 | 66 | 79.2 | 94.4 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0.65779 | 28.9328 | 4.8357 | 0
PV Toitures | 5.4624 | 7.7327 | 10.002 | 13.502 | 17.002 | 20.502 | 26.002 | 30.202 | 29.9595 | PV Grandes Toitures | 3.8466 | 2.0767 | 2.0767 | 2.75 | 2.75 | 6.5966 | 6.8267 | 6.2767 | 2.5075
Eolien en mer Posé | 0 | 2.1 | 5 | 8.5 | 12 | 15.5 | 19 | 19 | 19 | PV Petites Toitures | 1.6158 | 0.21989 | 0.33367 | 0.9773 | 0.85268 | 2.1933 | 1.0328 | 0.34928 | 1.0994
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75 | Eolien en mer Posé | 0 | 2.1 | 2.9 | 3.5 | 3.5 | 3.5 | 5.6 | 2.9 | 3.5
Eolien Terrestre | 17.391 | 23.6955 | 30 | 36.75 | 43.5 | 50.9732 | 63 | 75.6 | 90.72 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 0.9375 | 0.9375 | 0.9375 | 1.6875 | 0.25 | 0.9375
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 6.3268 | 7.0824 | 11.4279 | 10.8002 | 15.3359 | 18.3536 | 19.6824 | 26.5479
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0 | 0.24619 | 0 | 0 | 0 | 0 | 0
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 7.18
Batteries | 4.0961e-07 | 8.038e-07 | 1.4431e-06 | 0.2462 | 0.2462 | 0.24619 | 0.24619 | 3.2816e-06 | 3.954e-06
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 0.41373 | 3.9049 | 10.543 | 16.3875 | 17.7574 | 30.4572 | 30.4572 | 30.4572
Electrolyseurs quasi-base | 0 | 1.2616 | 2.5231 | 3.6969 | 4.8708 | 6.0446 | 7.2184 | 7.2184 | 7.2184
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 11.385 | 35.0886 | 37.8525 | 25.235 | 10.35 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 45.5922 | 36.4094 | 44.7737 | 59.9737
PV Sol tracker | 0 | 4.8989e-11 | 5.2652e-10 | 1.2973e-09 | 1.9951e-09 | 0.6578 | 29.5906 | 34.4263 | 34.4263
PV Sol total | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 46.25 | 66 | 79.2 | 94.4
PV Grandes Toitures | 3.8466 | 5.9233 | 8 | 10.75 | 13.5 | 16.25 | 21 | 25.2 | 24.9575
PV Petites Toitures | 1.6158 | 1.8094 | 2.002 | 2.752 | 3.502 | 4.252 | 5.002 | 5.002 | 5.002
PV Toitures total | 5.4624 | 7.7327 | 10.002 | 13.502 | 17.002 | 20.502 | 26.002 | 30.202 | 29.9595
Eolien Terrestre | 17.391 | 23.6955 | 30 | 36.75 | 43.5 | 50.9732 | 63 | 75.6 | 90.72
Eolien en mer Posé | 0 | 2.1 | 5 | 8.5 | 12 | 15.5 | 19 | 19 | 19
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 77.5971 | 93.7209 | 117.1584 | 140.5959 | 164.7566 | 206.4709 | 236.4709 | 266.5484
Pour toutes les années, les 25,3 GW de capacité Hydro intègrent les 5,2 GW de STEP identifiées en 2020.

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8915 | 406.4239 | 372.6813 | 304.2083 | 243.3498 | 164.0542 | 74.571 | 10.2175 | 9.9775 | Nucléaire | 408.8915 | 406.4239 | 372.6813 | 304.2083 | 243.3498 | 164.0542 | 74.571 | 10.2175 | 9.9775
CCGT | 0.76077 | 0.16473 | 0.52467 | 0.56666 | 0.52287 | 0.50242 | 0.38249 | 0.42687 | 2.1788e-06 | Turbines Gaz | 0.7634 | 0.16971 | 0.53797 | 0.58248 | 0.53552 | 0.54109 | 0.4364 | 0.42687 | 4.2668e-06
OCGT | 0.0026303 | 0.0049783 | 0.0133 | 0.015828 | 0.012644 | 0.038675 | 0.053909 | 2.2567e-06 | 2.088e-06 | Autres thermiques | 21.215 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.6739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 12.5349 | 31.206 | 39.5676 | 54.9839 | 70.5156 | 85.2822 | 123.4459 | 144.6796 | 162.8139
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 52.5281 | 70.3543 | 92.7599 | 115.1187 | 141.3628 | 175.1171 | 209.9554 | 251.3581
PV Sol | 5.9719 | 21.2266 | 26.5357 | 37.0115 | 47.844 | 58.2179 | 89.4694 | 105.454 | 123.864 | Eolien en mer | 0 | 9.613 | 19.9778 | 35.251 | 51.422 | 67.2078 | 80.6229 | 80.6686 | 80.6686
PV Toitures | 6.563 | 9.9794 | 13.0319 | 17.9725 | 22.6717 | 27.0643 | 33.9765 | 39.2256 | 38.9499 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256
Eolien en mer Posé | 0 | 6.9073 | 16.3458 | 28.1457 | 40.5417 | 52.5525 | 62.2597 | 62.2597 | 62.2597 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3632 | 18.4089 | 18.4089
Eolien Terrestre | 34.7883 | 52.5281 | 70.3543 | 92.7599 | 115.1187 | 141.3628 | 175.1171 | 209.9554 | 251.3581 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8915 | 406.4239 | 372.6813 | 304.2083 | 243.3498 | 164.0542 | 74.571 | 10.2175 | 9.9775
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 0.7634 | 0.16971 | 0.53797 | 0.58248 | 0.53552 | 0.54109 | 0.4364 | 0.42687 | 4.2668e-06
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 21.215 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 118.4426 | 164.8811 | 201.4336 | 254.5288 | 308.5903 | 365.3867 | 450.7198 | 506.8375 | 566.3745
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | Part renouvelable | 21.56% | 28.51% | 34.79% | 45.34% | 55.86% | 68.94% | 85.73% | 97.94% | 98.27%
Total | 549.3124 | 578.2835 | 579.0751 | 561.3553 | 552.4756 | 529.982 | 525.7272 | 517.4819 | 576.352 | Part nucléaire | 74.44% | 70.28% | 64.36% | 54.19% | 44.05% | 30.95% | 14.18% | 1.974% | 1.731%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6785 | 459.7918 | 458.2224 | 470.925 | 480.9957 | 488.2709 | 518.6574 | 521.3915 | 539.3263
STEP | 3.0651 | 3.8975 | 5.827 | 5.8353 | 6.516 | 6.7481 | 6.5747 | 7.0219 | 10.2295
Batteries | 2.1456e-06 | 3.8728e-06 | 6.986e-06 | 0.092862 | 0.095 | 0.10265 | 0.094839 | 1.1522e-05 | 1.0256e-05
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 1.8535 | 11.7439 | 22.0568 | 31.2643 | 38.7526 | 62.2636 | 64.1625 | 76.6013
Electrolyseurs quasi-base | 0 | 7.5248 | 14.3882 | 20.6307 | 27.1485 | 34.1161 | 40.573 | 40.6953 | 41.5244
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.2266 | 26.5357 | 37.0115 | 47.844 | 57.0608 | 44.1928 | 53.2125 | 71.6225
PV Sol tracker | 0 | 2.9716e-11 | 3.6487e-10 | 9.0407e-10 | 1.3785e-09 | 1.1571 | 45.2766 | 52.2415 | 52.2415
PV Sol total | 5.9719 | 21.2266 | 26.5357 | 37.0115 | 47.844 | 58.2179 | 89.4694 | 105.454 | 123.864
PV Grandes Toitures | 4.5458 | 7.707 | 10.589 | 14.4584 | 18.1697 | 21.5744 | 27.4986 | 32.7477 | 32.472
PV Petites Toitures | 2.0172 | 2.2724 | 2.4429 | 3.514 | 4.502 | 5.49 | 6.4779 | 6.4779 | 6.4779
PV Toitures total | 6.563 | 9.9794 | 13.0319 | 17.9725 | 22.6717 | 27.0643 | 33.9765 | 39.2256 | 38.9499
Eolien Terrestre | 34.7883 | 52.5281 | 70.3543 | 92.7599 | 115.1187 | 141.3628 | 175.1171 | 209.9554 | 251.3581
Eolien en mer Posé | 0 | 6.9073 | 16.3458 | 28.1457 | 40.5417 | 52.5525 | 62.2597 | 62.2597 | 62.2597
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3632 | 18.4089 | 18.4089
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 118.4426 | 164.8811 | 201.4336 | 254.5288 | 308.5903 | 365.3867 | 450.7198 | 506.8375 | 566.3745
Les données permettent de vérifier :
Production totale + Production du stockage + Imports = Consommation domestique + Consommation du stockage + Exports + Ecrêtement
Consommation domestique = Somme des composantes sectorielles de la demande qui incluent les pertes
Les pertes représentent 8% de chacune des consommations par usage présentées dans l'onglet Consommation

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 3.8119 | 5.5504 | 5.8447 | 5.7016 | 5.9149 | 5.9176 | 5.9176 | 5.9176 | Chauffage Joule | 48.492 | 38.1235 | 27.7552 | 23.3812 | 19.0072 | 16.9012 | 14.7952 | 14.7952 | 14.7952
Chauffage Joule non-pilotable | 48.492 | 34.3116 | 22.2048 | 17.5365 | 13.3056 | 10.9863 | 8.8776 | 8.8776 | 8.8776 | Chauffage PAC | 12.281 | 20.0402 | 27.8062 | 28.0242 | 28.2446 | 26.7413 | 25.2302 | 25.2328 | 25.2367
Chauffage PAC pilotable | 0 | 2.007 | 5.5721 | 7.0183 | 8.4884 | 9.3766 | 10.1062 | 10.1088 | 10.1126 | ECS et produits blancs | 117.936 | 105.566 | 93.2127 | 85.6915 | 78.17 | 73.0784 | 67.9858 | 67.9858 | 67.9861
Chauffage PAC non-pilotable | 12.281 | 18.0332 | 22.2341 | 21.0059 | 19.7562 | 17.3647 | 15.1241 | 15.1241 | 15.124 | Climatisation | 25.812 | 20.2173 | 14.6228 | 14.1691 | 13.7154 | 13.5803 | 13.4452 | 13.4452 | 13.4453
ECS pilotable | 0 | 10.073 | 17.5 | 16.3152 | 15.0982 | 14.4655 | 13.9696 | 13.9697 | 13.9699 | Véhicules électriques | 0.32384 | 10.5247 | 20.724 | 26.7116 | 32.6988 | 38.6818 | 44.6627 | 44.6629 | 44.6638
ECS non-pilotable | 27.432 | 13.9374 | 3.0942 | 2.6611 | 2.2604 | 1.9764 | 1.5552 | 1.5552 | 1.5552 | Industrie | 127.4018 | 121.8589 | 116.316 | 108.513 | 100.71 | 92.907 | 85.104 | 85.104 | 85.104
Produits blancs pilotables | 0 | 8.1405 | 10.8738 | 11.3222 | 12.1422 | 12.44 | 13.095 | 13.095 | 13.0951 | Autres | 135.432 | 130.788 | 122.472 | 126.7488 | 129.5136 | 127.9098 | 128.466 | 128.466 | 128.466
Produits blancs non-pilotables | 90.504 | 73.4151 | 61.7447 | 55.393 | 48.6691 | 44.1965 | 39.366 | 39.366 | 39.366 | Electrolyseurs | 0 | 12.6734 | 35.3136 | 57.6857 | 78.9363 | 98.4712 | 138.9684 | 141.6997 | 159.6293
Climatisation pilotable | 0 | 2.0215 | 2.9242 | 3.5419 | 4.1142 | 4.7527 | 5.3776 | 5.3776 | 5.3777
Climatisation non-pilotable | 25.812 | 18.1958 | 11.6985 | 10.6272 | 9.6012 | 8.8276 | 8.0676 | 8.0676 | 8.0676 | Consommation domestique | 467.6785 | 459.7918 | 458.2224 | 470.925 | 480.9957 | 488.2709 | 518.6574 | 521.3915 | 539.3263
VE pilotables | 0.038777 | 1.8913 | 5.174 | 9.339 | 13.0665 | 19.325 | 26.7799 | 26.7801 | 26.781
VE non-pilotables | 0.28507 | 8.6334 | 15.5501 | 17.3726 | 19.6322 | 19.3568 | 17.8828 | 17.8828 | 17.8828
Industrie pilotable | 25.4803 | 36.5577 | 46.5264 | 46.118 | 45.3195 | 44.1308 | 42.552 | 42.552 | 42.552
Industrie non-pilotable | 101.9214 | 85.3012 | 69.7896 | 62.395 | 55.3905 | 48.7762 | 42.552 | 42.552 | 42.552 | Résumé Consommation pilotable | Consommation en TWh
Autres (non-pilotable) | 135.432 | 130.788 | 122.472 | 126.7488 | 129.5136 | 127.9098 | 128.466 | 128.466 | 128.466 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 2.5047 | 15.8701 | 29.8065 | 42.2491 | 52.3683 | 84.14 | 86.7061 | 103.5152 | Chauffage pilotable | 0 | 5.8189 | 11.1225 | 12.8629 | 14.19 | 15.2914 | 16.0237 | 16.0263 | 16.0302
Electrolyseurs quasi-base | 0 | 10.1687 | 19.4435 | 27.8793 | 36.6872 | 46.1028 | 54.8284 | 54.9936 | 56.1141 | Climatisation pilotable | 0 | 2.0215 | 2.9242 | 3.5419 | 4.1142 | 4.7527 | 5.3776 | 5.3776 | 5.3777
[10 empty] | ECS et produits blancs pilotables | 0 | 18.2135 | 28.3738 | 27.6374 | 27.2405 | 26.9055 | 27.0646 | 27.0646 | 27.0649
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Véhicules électriques pilotables | 0.038777 | 1.8913 | 5.174 | 9.339 | 13.0665 | 19.325 | 26.7799 | 26.7801 | 26.781
STEP | 3.7841 | 4.8117 | 7.1938 | 7.2041 | 8.0445 | 8.331 | 8.1169 | 8.669 | 12.6291 | Industrie pilotable | 25.4803 | 36.5577 | 46.5264 | 46.118 | 45.3195 | 44.1308 | 42.552 | 42.552 | 42.552
Batteries | 7.8103e-07 | 9.8997e-07 | 1.8851e-06 | 0.11019 | 0.11262 | 0.12161 | 0.11234 | 2.1779e-06 | 3.5711e-06 | Consommations non-pilotables | 442.1594 | 382.6157 | 328.7879 | 313.74 | 298.1288 | 279.3943 | 261.8912 | 261.8912 | 261.8912
[10 empty] | Electrolyseurs optimisés | 0 | 2.5047 | 15.8701 | 29.8065 | 42.2491 | 52.3683 | 84.14 | 86.7061 | 103.5152
[10 empty] | Electrolyseurs quasi-base | 0 | 10.1687 | 19.4435 | 27.8793 | 36.6872 | 46.1028 | 54.8284 | 54.9936 | 56.1141
[10 empty] | Consommation gaz PAC hybrides | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 98.6806 | 137.7295 | 154.4031 | 145.717 | 147.026 | 142.8888 | 142.0552 | 146.7576 | 177.4735
Imports | 17.5083 | 20.1523 | 35.1571 | 57.2933 | 78.0184 | 104.3792 | 138.0815 | 155.5146 | 148.3178
Bilan exportateur net | 81.1724 | 117.5773 | 119.246 | 88.4237 | 69.0076 | 38.5096 | 3.9736 | -8.757 | 29.1557
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Total | 8.2755e-07 | 0.0064866 | 0.25044 | 0.63306 | 0.93947 | 1.6277 | 1.5652 | 3.2401 | 5.4813

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 30.1586 | 31.0146 | 30.3196 | 44.826 | 53.2847 | 56.4469 | 69.3891 | 76.912 | 63.7835
Moyenne énergie | 31.0251 | 33.3721 | 32.5707 | 46.7271 | 54.2217 | 57.3012 | 69.5 | 76.843 | 63.5894

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!