## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 59.35 | 49.4079 | 39.4525 | 26.835 | 11.95 | 1.6 | 1.6 | Prolongement nucléaire | 0 | 0 | 11.385 | 24.0629 | 13.7896 | 11.4454 | 0 | 0 | 0
CCGT | 6.2775 | 9.8744 | 15.0788 | 14.4355 | 12.2505 | 9.6345 | 8.946 | 5.3492 | 0.14475 | Nucléaire EPR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 1.85 | 1.3 | 1.05 | 1.05 | 2.9719e-06 | 2.7243e-06 | 9.836e-07 | 1.6919e-06 | 1.2258e-06 | CCGT | 0.11355 | 3.5968 | 5.2044 | 0.14475 | 0 | 0 | 0 | 0 | 0
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 14.4 | 11.5 | 11.5 | 16.1386 | 23.1027 | 22.2713 | 9.3242
PV Sol | 4.6386 | 15.6 | 30 | 41.5 | 53 | 64.5 | 83.0412 | 94.4 | 94.4 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0 | 6.4 | 3.4875 | 2.1758
PV Toitures | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002 | PV Grandes Toitures | 3.8466 | 3.0767 | 3.0767 | 7 | 7 | 10.8466 | 10.0767 | 3.0767 | 7
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19 | PV Petites Toitures | 1.6158 | 0.2373 | 0.27941 | 4.5909 | 4.6453 | 6.046 | 6.1156 | 2.6477 | 3.8011
Eolien en mer Flottant | 0 | 0.75 | 1 | 7.875 | 14.75 | 21.625 | 28.5 | 28.5 | 28.5 | Eolien en mer Posé | 0 | 2.1 | 4.9 | 3 | 3 | 3 | 5.1 | 4.9 | 3
Eolien Terrestre | 17.391 | 26.1955 | 35 | 39.3125 | 43.625 | 49.3564 | 57.75 | 69.3 | 83.16 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 6.875 | 6.875 | 6.875 | 7.625 | 0.25 | 6.875
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 8.8268 | 9.5824 | 8.9904 | 8.3627 | 13.5941 | 17.2204 | 21.1324 | 22.8504
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0 | 2.0014 | 0 | 0 | 0 | 8.1746e-06 | 0.071941
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18
Batteries | 5.8858e-07 | 1.7614e-06 | 2.0383e-06 | 2.0014 | 2.0014 | 2.0014 | 2.0014 | 1.2484e-05 | 0.071955
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 2.7535e-07 | 3.2482 | 4.8258 | 6.4033 | 7.9808 | 9.5584 | 9.5584 | 9.5584
Electrolyseurs quasi-base | 0 | 2.2473 | 4.4946 | 4.7197 | 4.9448 | 5.1699 | 5.395 | 5.395 | 5.395
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 11.385 | 35.4479 | 37.8525 | 25.235 | 10.35 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 30 | 41.5 | 53 | 64.5 | 76.6412 | 84.5125 | 82.3367
PV Sol tracker | 0 | 8.7867e-11 | 9.2475e-10 | 1.9242e-09 | 2.7577e-09 | 6.8759e-09 | 6.4 | 9.8875 | 12.0633
PV Sol total | 4.6386 | 15.6 | 30 | 41.5 | 53 | 64.5 | 83.0412 | 94.4 | 94.4
PV Grandes Toitures | 3.8466 | 6.9233 | 10 | 17 | 24 | 31 | 38 | 38 | 38
PV Petites Toitures | 1.6158 | 1.8094 | 2.002 | 6.502 | 11.002 | 15.502 | 20.002 | 20.002 | 20.002
PV Toitures total | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002
Eolien Terrestre | 17.391 | 26.1955 | 35 | 39.3125 | 43.625 | 49.3564 | 57.75 | 69.3 | 83.16
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19
Eolien en mer Flottant | 0 | 0.75 | 1 | 7.875 | 14.75 | 21.625 | 28.5 | 28.5 | 28.5
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 81.0971 | 112.7209 | 149.9084 | 187.0959 | 225.7023 | 274.0121 | 296.9209 | 310.7809
Pour toutes les années, les 25,3 GW de capacité Hydro intègrent les 5,2 GW de STEP identifiées en 2020.

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8915 | 413.9393 | 380.1357 | 304.3 | 237.0653 | 158.388 | 70.1944 | 9.6512 | 9.5381 | Nucléaire | 408.8915 | 413.9393 | 380.1357 | 304.3 | 237.0653 | 158.388 | 70.1944 | 9.6512 | 9.5381
CCGT | 1.4537 | 8.3551 | 15.5823 | 16.9403 | 17.6549 | 16.7681 | 14.3997 | 9.9405 | 0.23277 | Turbines Gaz | 1.4564 | 8.3613 | 15.5865 | 16.9443 | 17.655 | 16.7681 | 14.3997 | 9.9405 | 0.23278
OCGT | 0.0026176 | 0.0061779 | 0.0041346 | 0.0040164 | 2.0991e-05 | 1.9088e-05 | 6.8471e-06 | 1.1789e-05 | 8.3571e-06 | Autres thermiques | 21.0965 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.5554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 12.5349 | 32.7478 | 54.1682 | 82.695 | 110.5197 | 138.1416 | 176.3041 | 191.3113 | 191.669
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 59.5996 | 84.4174 | 99.9061 | 115.03 | 136.9372 | 160.7627 | 192.7561 | 230.598
PV Sol | 5.9719 | 21.3696 | 38.2328 | 51.7663 | 65.4799 | 78.4478 | 103.6503 | 119.4346 | 119.8277 | Eolien en mer | 0 | 9.613 | 26.2459 | 61.5249 | 99.1076 | 134.6451 | 166.8456 | 166.8456 | 166.8456
PV Toitures | 6.563 | 11.3782 | 15.9354 | 30.9287 | 45.0398 | 59.6938 | 72.6538 | 71.8766 | 71.8413 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5253 | 63.5253 | 63.5246
Eolien en mer Posé | 0 | 6.9073 | 22.6139 | 33.2677 | 43.8443 | 53.6249 | 62.2597 | 62.2597 | 62.2597 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 28.2572 | 55.2633 | 81.0202 | 104.5859 | 104.5859 | 104.5859
Eolien Terrestre | 34.7883 | 59.5996 | 84.4174 | 99.9061 | 115.03 | 136.9372 | 160.7627 | 192.7561 | 230.598 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8915 | 413.9393 | 380.1357 | 304.3 | 237.0653 | 158.388 | 70.1944 | 9.6512 | 9.5381
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 1.4564 | 8.3613 | 15.5865 | 16.9443 | 17.655 | 16.7681 | 14.3997 | 9.9405 | 0.23278
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 21.0965 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 118.4426 | 173.4944 | 236.3655 | 315.6599 | 396.1913 | 481.2578 | 575.446 | 622.4466 | 660.6456
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5253 | 63.5253 | 63.5246 | Part renouvelable | 21.54% | 28.79% | 37.13% | 49.4% | 60.87% | 73.32% | 87.18% | 96.95% | 98.54%
Total | 549.8869 | 602.6037 | 636.51 | 638.9399 | 650.9116 | 656.414 | 660.0401 | 642.0383 | 670.4165 | Part nucléaire | 74.36% | 68.69% | 59.72% | 47.63% | 36.42% | 24.13% | 10.63% | 1.503% | 1.423%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6785 | 507.9951 | 553.9509 | 574.0489 | 596.0788 | 621.4029 | 645.3387 | 645.2612 | 648.4319
STEP | 3.0581 | 3.0704 | 3.8371 | 8.1319 | 9.4892 | 10.1716 | 10.6493 | 11.0202 | 11.2332
Batteries | 3.0198e-06 | 7.9252e-06 | 9.3633e-06 | 0.62549 | 0.72158 | 0.74613 | 0.77545 | 1.3e-05 | 0.03873
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 1.6096e-10 | 7.0808 | 8.9135 | 13.3681 | 20.025 | 26.3299 | 25.0494 | 26.9006
Electrolyseurs quasi-base | 0 | 12.82 | 25.1021 | 26.1151 | 27.5427 | 29.2246 | 30.8363 | 30.7832 | 31.2942
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.3696 | 38.2328 | 51.7663 | 65.4799 | 78.4478 | 92.3927 | 103.0317 | 100.2146
PV Sol tracker | 0 | 5.8761e-11 | 6.5608e-10 | 1.2674e-09 | 1.8827e-09 | 5.2381e-09 | 11.2576 | 16.4029 | 19.6131
PV Sol total | 5.9719 | 21.3696 | 38.2328 | 51.7663 | 65.4799 | 78.4478 | 103.6503 | 119.4346 | 119.8277
PV Grandes Toitures | 4.5458 | 9.1058 | 13.4093 | 22.4748 | 30.6583 | 39.3845 | 47.1552 | 46.3716 | 46.419
PV Petites Toitures | 2.0172 | 2.2724 | 2.5261 | 8.4538 | 14.3816 | 20.3093 | 25.4986 | 25.505 | 25.4223
PV Toitures total | 6.563 | 11.3782 | 15.9354 | 30.9287 | 45.0398 | 59.6938 | 72.6538 | 71.8766 | 71.8413
Eolien Terrestre | 34.7883 | 59.5996 | 84.4174 | 99.9061 | 115.03 | 136.9372 | 160.7627 | 192.7561 | 230.598
Eolien en mer Posé | 0 | 6.9073 | 22.6139 | 33.2677 | 43.8443 | 53.6249 | 62.2597 | 62.2597 | 62.2597
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 28.2572 | 55.2633 | 81.0202 | 104.5859 | 104.5859 | 104.5859
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5253 | 63.5253 | 63.5246
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 118.4426 | 173.4944 | 236.3655 | 315.6599 | 396.1913 | 481.2578 | 575.446 | 622.4466 | 660.6456
Les données permettent de vérifier :
Production totale + Production du stockage + Imports = Consommation domestique + Consommation du stockage + Exports + Ecrêtement
Consommation domestique = Somme des composantes sectorielles de la demande qui incluent les pertes
Les pertes représentent 8% de chacune des consommations par usage présentées dans l'onglet Consommation

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 5.1158 | 8.3418 | 8.5686 | 8.3149 | 8.0557 | 7.4349 | 7.4349 | 7.4349 | Chauffage Joule | 48.492 | 40.9313 | 33.3708 | 28.5648 | 23.7588 | 20.1409 | 16.523 | 16.5231 | 16.5231
Chauffage Joule non-pilotable | 48.492 | 35.8155 | 25.029 | 19.9962 | 15.444 | 12.0852 | 9.0882 | 9.0882 | 9.0882 | Chauffage PAC | 12.281 | 24.0818 | 35.894 | 36.606 | 37.3166 | 35.4128 | 33.4522 | 33.3406 | 33.3129
Chauffage PAC pilotable | 0 | 2.7991 | 7.741 | 9.3932 | 11.0779 | 11.9665 | 12.6923 | 12.6945 | 12.6938 | ECS et produits blancs | 117.936 | 109.9414 | 101.9729 | 96.3046 | 90.6348 | 86.6402 | 82.6453 | 82.6452 | 82.6469
Chauffage PAC non-pilotable | 12.281 | 19.5765 | 23.1874 | 21.8661 | 20.5155 | 17.8946 | 15.4633 | 15.4632 | 15.4632 | Climatisation | 25.812 | 25.5955 | 25.3791 | 27.1069 | 28.8346 | 30.2924 | 31.7502 | 31.7502 | 31.7502
Chauffage PAC hybride pilotable | 0 | 0.2137 | 1.2443 | 1.6086 | 2.0091 | 2.2269 | 2.3897 | 2.3387 | 2.3279 | Véhicules électriques | 0.32384 | 10.0905 | 19.8569 | 36.7729 | 53.6803 | 70.5834 | 87.4818 | 87.4819 | 87.4864
Chauffage PAC hybride non-pilotable | 0 | 1.4925 | 3.7213 | 3.7381 | 3.7141 | 3.3248 | 2.9069 | 2.8442 | 2.828 | Industrie | 127.4018 | 143.2429 | 159.084 | 153.954 | 148.824 | 143.694 | 138.564 | 138.564 | 138.564
ECS pilotable | 0 | 10.9865 | 19.3054 | 18.0486 | 16.8963 | 15.9749 | 15.0538 | 15.0538 | 15.0546 | Autres | 135.432 | 136.7874 | 134.9028 | 147.4038 | 157.7448 | 168.0858 | 177.6708 | 179.5068 | 179.5068
ECS non-pilotable | 27.432 | 13.4541 | 2.1492 | 1.5725 | 0.89099 | 0.84239 | 0.79379 | 0.79379 | 0.79379 | Electrolyseurs | 0 | 17.3244 | 43.4904 | 47.336 | 55.2848 | 66.5535 | 77.2516 | 75.4494 | 78.6417
Produits blancs pilotables | 0 | 17.072 | 24.1207 | 24.5044 | 25.4626 | 25.8011 | 26.6865 | 26.6864 | 26.6873
Produits blancs non-pilotables | 90.504 | 68.4288 | 56.3976 | 52.1791 | 47.385 | 44.0219 | 40.1112 | 40.1112 | 40.1112 | Consommation domestique | 467.6785 | 507.9951 | 553.9509 | 574.0489 | 596.0788 | 621.4029 | 645.3387 | 645.2612 | 648.4319
Climatisation pilotable | 0 | 3.199 | 6.3441 | 8.1313 | 10.0912 | 12.116 | 14.2866 | 14.2866 | 14.2866
Climatisation non-pilotable | 25.812 | 22.3965 | 19.035 | 18.9756 | 18.7434 | 18.1764 | 17.4636 | 17.4636 | 17.4636
VE pilotables | 0.038777 | 3.0229 | 6.9417 | 14.6948 | 26.8183 | 42.323 | 61.2083 | 61.2085 | 61.2129
VE non-pilotables | 0.28507 | 7.0676 | 12.9152 | 22.0781 | 26.862 | 28.2604 | 26.2735 | 26.2735 | 26.2735 | Résumé Consommation pilotable | Consommation en TWh
Industrie pilotable | 25.4803 | 42.9729 | 63.6336 | 65.4304 | 66.9708 | 68.2546 | 69.282 | 69.282 | 69.282 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Industrie non-pilotable | 101.9214 | 100.27 | 95.4504 | 88.5235 | 81.8532 | 75.4393 | 69.282 | 69.282 | 69.282 | Chauffage pilotable | 0 | 8.1286 | 17.3271 | 19.5703 | 21.4019 | 22.2491 | 22.5169 | 22.4681 | 22.4565
Autres (non-pilotable) | 135.432 | 136.7874 | 134.9028 | 147.4038 | 157.7448 | 168.0858 | 177.6708 | 179.5068 | 179.5068 | Climatisation pilotable | 0 | 3.199 | 6.3441 | 8.1313 | 10.0912 | 12.116 | 14.2866 | 14.2866 | 14.2866
Electrolyseurs optimisés | 0 | 2.1751e-10 | 9.5687 | 12.0453 | 18.0649 | 27.0608 | 35.5809 | 33.8505 | 36.3522 | ECS et produits blancs pilotables | 0 | 28.0586 | 43.4261 | 42.553 | 42.3588 | 41.7759 | 41.7403 | 41.7402 | 41.7419
Electrolyseurs quasi-base | 0 | 17.3244 | 33.9217 | 35.2907 | 37.2199 | 39.4927 | 41.6707 | 41.5989 | 42.2895 | Véhicules électriques pilotables | 0.038777 | 3.0229 | 6.9417 | 14.6948 | 26.8183 | 42.323 | 61.2083 | 61.2085 | 61.2129
[10 empty] | Industrie pilotable | 25.4803 | 42.9729 | 63.6336 | 65.4304 | 66.9708 | 68.2546 | 69.282 | 69.282 | 69.282
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommations non-pilotables | 442.1594 | 405.2888 | 372.7878 | 376.3331 | 373.1529 | 368.1308 | 359.0531 | 360.8264 | 360.8103
STEP | 3.7754 | 3.7906 | 4.7371 | 10.0394 | 11.7152 | 12.5576 | 13.1475 | 13.6054 | 13.8685 | Electrolyseurs optimisés | 0 | 2.1751e-10 | 9.5687 | 12.0453 | 18.0649 | 27.0608 | 35.5809 | 33.8505 | 36.3522
Batteries | 1.0095e-06 | 1.212e-06 | 1.7445e-06 | 0.74189 | 0.85501 | 0.88435 | 0.91887 | 1.5391e-05 | 0.045869 | Electrolyseurs quasi-base | 0 | 17.3244 | 33.9217 | 35.2907 | 37.2199 | 39.4927 | 41.6707 | 41.5989 | 42.2895
[10 empty] | Consommation gaz PAC hybrides | 0 | 0.81919 | 2.4276 | 2.6478 | 2.8609 | 2.9123 | 3.1747 | 3.6815 | 3.7851

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 99.0802 | 118.1765 | 121.703 | 123.1209 | 130.8446 | 132.5368 | 136.9739 | 139.5127 | 164.929
Imports | 17.3319 | 24.2815 | 40.2135 | 61.7309 | 81.5258 | 106.1726 | 135.2064 | 159.2413 | 161.9686
Bilan exportateur net | 81.7482 | 93.8949 | 81.4895 | 61.39 | 49.3188 | 26.3642 | 1.7675 | -19.7287 | 2.9604
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Total | 6.8973e-07 | 0.0035814 | 0.18801 | 1.4971 | 3.177 | 6.1884 | 10.4126 | 14.1672 | 16.607

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 30.0514 | 39.7712 | 40.9154 | 47.0876 | 54.4693 | 59.1692 | 64.9529 | 81.9548 | 80.105
Moyenne énergie | 30.8558 | 41.6004 | 42.3755 | 48.7818 | 55.4887 | 59.8721 | 65.4673 | 82.1699 | 80.3472

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!