## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 59.35 | 53.8716 | 45.2525 | 34.635 | 21.75 | 13.4 | 15.4 | Prolongement nucléaire | 0 | 0 | 11.385 | 24.7266 | 13.1259 | 12.1091 | 0 | 0 | 0
CCGT | 6.2857 | 9.9166 | 14.9508 | 14.1628 | 11.9778 | 9.3618 | 8.6651 | 5.0342 | 3.8847e-07 | Nucléaire EPR | 0 | 0 | 0 | 3.8 | 2 | 2 | 2 | 2 | 2
OCGT | 1.85 | 1.3 | 1.05 | 1.05 | 2.539e-06 | 2.4063e-06 | 2.2394e-06 | 3.3231e-07 | 3.3278e-07 | CCGT | 0.12167 | 3.631 | 5.0342 | 0 | 0 | 0 | 0 | 0 | 0
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 14.4 | 11.5 | 11.5 | 15.4808 | 24.7192 | 24.8 | 11.1636
PV Sol | 4.6386 | 15.6 | 30 | 41.5 | 53 | 64.5 | 84 | 94.4 | 94.0636 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0.65779 | 5.7422 | 0 | 0
PV Toitures | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002 | PV Grandes Toitures | 3.8466 | 3.0767 | 3.0767 | 7 | 7 | 10.8466 | 10.0767 | 3.0767 | 7
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19 | PV Petites Toitures | 1.6158 | 0.2155 | 0.23447 | 4.5465 | 4.5793 | 6.0891 | 4.7718 | 1.2114 | 4.4889
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75 | Eolien en mer Posé | 0 | 2.1 | 4.9 | 3 | 3 | 3 | 5.1 | 4.9 | 3
Eolien Terrestre | 17.391 | 26.1955 | 35 | 39.3125 | 43.625 | 51.686 | 57.75 | 69.3 | 83.16 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 0.9375 | 0.9375 | 0.9375 | 1.6875 | 0.25 | 0.9375
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 8.8268 | 9.5824 | 8.9904 | 8.3627 | 15.9237 | 14.8908 | 21.1324 | 22.8504
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0 | 1.6276 | 0 | 0 | 0.20874 | 1.5341 | 0
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18
Batteries | 3.2679e-07 | 8.0046e-07 | 1.8065e-06 | 1.6276 | 1.6276 | 1.6276 | 1.8363 | 1.7429 | 1.7429
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 1.458e-07 | 3.2482 | 4.8258 | 6.4033 | 7.9808 | 9.5584 | 9.5584 | 9.5584
Electrolyseurs quasi-base | 0 | 2.2473 | 4.4946 | 4.7197 | 4.9448 | 5.1699 | 5.395 | 5.395 | 5.395
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 11.385 | 36.1116 | 37.8525 | 25.235 | 10.35 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 5.4 | 7.4 | 9.4 | 11.4 | 13.4 | 15.4
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 30 | 41.5 | 53 | 63.8422 | 77.6 | 88 | 87.6636
PV Sol tracker | 0 | 5.4563e-11 | 4.973e-10 | 1.0309e-09 | 1.4608e-09 | 0.65779 | 6.4 | 6.4 | 6.4
PV Sol total | 4.6386 | 15.6 | 30 | 41.5 | 53 | 64.5 | 84 | 94.4 | 94.0636
PV Grandes Toitures | 3.8466 | 6.9233 | 10 | 17 | 24 | 31 | 38 | 38 | 38
PV Petites Toitures | 1.6158 | 1.8094 | 2.002 | 6.502 | 11.002 | 15.502 | 20.002 | 20.002 | 20.002
PV Toitures total | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002
Eolien Terrestre | 17.391 | 26.1955 | 35 | 39.3125 | 43.625 | 51.686 | 57.75 | 69.3 | 83.16
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 81.0971 | 112.7209 | 143.9709 | 175.2209 | 210.2194 | 251.2209 | 273.1709 | 286.6945
Pour toutes les années, les 25,3 GW de capacité Hydro intègrent les 5,2 GW de STEP identifiées en 2020.

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8915 | 413.9193 | 380.1962 | 332.5978 | 275.5617 | 208.2369 | 132.2463 | 82.1903 | 92.9303 | Nucléaire | 408.8915 | 413.9193 | 380.1962 | 332.5978 | 275.5617 | 208.2369 | 132.2463 | 82.1903 | 92.9303
CCGT | 1.5033 | 8.4556 | 15.5809 | 15.1447 | 16.9854 | 16.6732 | 15.4165 | 9.943 | 2.462e-06 | Turbines Gaz | 1.5059 | 8.4617 | 15.5849 | 15.1487 | 16.9855 | 16.6732 | 15.4165 | 9.9431 | 4.7554e-06
OCGT | 0.0026153 | 0.0060865 | 0.0040378 | 0.0040062 | 1.8161e-05 | 1.7061e-05 | 1.5937e-05 | 2.3613e-06 | 2.2934e-06 | Autres thermiques | 21.0875 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.5463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 12.5349 | 32.723 | 54.1176 | 82.6442 | 110.2279 | 138.077 | 178.207 | 191.4752 | 191.3372
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 59.5895 | 84.4151 | 100.2056 | 115.5078 | 143.5054 | 160.0664 | 192.5015 | 230.8809
PV Sol | 5.9719 | 21.3448 | 38.1821 | 51.6874 | 65.6245 | 78.8707 | 105.1513 | 118.8047 | 118.3834 | Eolien en mer | 0 | 9.613 | 26.2459 | 40.423 | 54.5104 | 68.2787 | 80.2373 | 80.2797 | 80.2797
PV Toitures | 6.563 | 11.3782 | 15.9354 | 30.9568 | 44.6034 | 59.2063 | 73.0557 | 72.6705 | 72.9538 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255
Eolien en mer Posé | 0 | 6.9073 | 22.6139 | 33.3177 | 43.8443 | 54.1392 | 62.2597 | 62.2597 | 62.2597 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.6661 | 14.1394 | 17.9776 | 18.02 | 18.02
Eolien Terrestre | 34.7883 | 59.5895 | 84.4151 | 100.2056 | 115.5078 | 143.5054 | 160.0664 | 192.5015 | 230.8809 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8915 | 413.9193 | 380.1962 | 332.5978 | 275.5617 | 208.2369 | 132.2463 | 82.1903 | 92.9303
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 1.5059 | 8.4617 | 15.5849 | 15.1487 | 16.9855 | 16.6732 | 15.4165 | 9.9431 | 4.7554e-06
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 21.0875 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 118.4426 | 173.4595 | 236.3125 | 294.8067 | 351.7801 | 421.3951 | 490.0446 | 535.7903 | 574.0317
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | Part renouvelable | 21.54% | 28.78% | 37.13% | 45.74% | 54.6% | 65.2% | 76.84% | 85.33% | 86.07%
Total | 549.9274 | 602.6493 | 636.5159 | 644.589 | 644.3273 | 646.3051 | 637.7074 | 627.9237 | 666.962 | Part nucléaire | 74.35% | 68.68% | 59.73% | 51.6% | 42.77% | 32.22% | 20.74% | 13.09% | 13.93%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6785 | 507.9943 | 553.8459 | 574.6747 | 594.3509 | 617.6122 | 638.5492 | 640.6442 | 645.737
STEP | 3.0572 | 3.0786 | 3.8751 | 8.1598 | 9.1967 | 9.9732 | 10.5818 | 10.8631 | 11.0904
Batteries | 1.7246e-06 | 3.7474e-06 | 6.961e-06 | 0.60465 | 0.66115 | 0.7132 | 0.85388 | 0.91879 | 0.92591
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 7.0518e-11 | 7.0205 | 9.3904 | 12.3216 | 17.4845 | 21.796 | 21.9044 | 25.048
Electrolyseurs quasi-base | 0 | 12.8195 | 25.0848 | 26.1017 | 27.3122 | 28.9627 | 30.3457 | 30.4978 | 31.1271
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.3448 | 38.1821 | 51.6874 | 65.6245 | 77.7137 | 93.8937 | 107.5471 | 107.1258
PV Sol tracker | 0 | 3.3798e-11 | 3.426e-10 | 6.9952e-10 | 9.8441e-10 | 1.1571 | 11.2576 | 11.2576 | 11.2576
PV Sol total | 5.9719 | 21.3448 | 38.1821 | 51.6874 | 65.6245 | 78.8707 | 105.1513 | 118.8047 | 118.3834
PV Grandes Toitures | 4.5458 | 9.1058 | 13.4093 | 22.5029 | 30.2218 | 38.897 | 46.8187 | 46.8031 | 46.7168
PV Petites Toitures | 2.0172 | 2.2724 | 2.5261 | 8.4538 | 14.3816 | 20.3093 | 26.237 | 25.8674 | 26.237
PV Toitures total | 6.563 | 11.3782 | 15.9354 | 30.9568 | 44.6034 | 59.2063 | 73.0557 | 72.6705 | 72.9538
Eolien Terrestre | 34.7883 | 59.5895 | 84.4151 | 100.2056 | 115.5078 | 143.5054 | 160.0664 | 192.5015 | 230.8809
Eolien en mer Posé | 0 | 6.9073 | 22.6139 | 33.3177 | 43.8443 | 54.1392 | 62.2597 | 62.2597 | 62.2597
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.6661 | 14.1394 | 17.9776 | 18.02 | 18.02
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 118.4426 | 173.4595 | 236.3125 | 294.8067 | 351.7801 | 421.3951 | 490.0446 | 535.7903 | 574.0317
Les données permettent de vérifier :
Production totale + Production du stockage + Imports = Consommation domestique + Consommation du stockage + Exports + Ecrêtement
Consommation domestique = Somme des composantes sectorielles de la demande qui incluent les pertes
Les pertes représentent 8% de chacune des consommations par usage présentées dans l'onglet Consommation

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 5.1158 | 8.3418 | 8.5686 | 8.3148 | 8.0557 | 7.4348 | 7.4348 | 7.4349 | Chauffage Joule | 48.492 | 40.9313 | 33.3708 | 28.5648 | 23.7588 | 20.1409 | 16.523 | 16.523 | 16.523
Chauffage Joule non-pilotable | 48.492 | 35.8155 | 25.029 | 19.9962 | 15.444 | 12.0852 | 9.0882 | 9.0882 | 9.0882 | Chauffage PAC | 12.281 | 24.0818 | 35.8938 | 36.6058 | 37.315 | 35.4111 | 33.4577 | 33.3635 | 33.3526
Chauffage PAC pilotable | 0 | 2.7991 | 7.7408 | 9.3933 | 11.0773 | 11.966 | 12.6917 | 12.6938 | 12.6948 | ECS et produits blancs | 117.936 | 109.9414 | 101.9729 | 96.3044 | 90.6346 | 86.6398 | 82.6439 | 82.644 | 82.6454
Chauffage PAC non-pilotable | 12.281 | 19.5765 | 23.1874 | 21.8661 | 20.5155 | 17.8946 | 15.4633 | 15.4632 | 15.4632 | Climatisation | 25.812 | 25.5955 | 25.3791 | 27.1069 | 28.8346 | 30.2923 | 31.75 | 31.7501 | 31.7502
Chauffage PAC hybride pilotable | 0 | 0.2137 | 1.2443 | 1.6085 | 2.0087 | 2.2264 | 2.3926 | 2.3493 | 2.3455 | Véhicules électriques | 0.32384 | 10.0905 | 19.8569 | 36.7728 | 53.6798 | 70.5817 | 87.4781 | 87.4791 | 87.4827
Chauffage PAC hybride non-pilotable | 0 | 1.4925 | 3.7213 | 3.7378 | 3.7135 | 3.3241 | 2.9102 | 2.8571 | 2.8491 | Industrie | 127.4018 | 143.2429 | 159.084 | 153.954 | 148.824 | 143.694 | 138.564 | 138.564 | 138.564
ECS pilotable | 0 | 10.9865 | 19.3054 | 18.0485 | 16.8962 | 15.9746 | 15.0531 | 15.0531 | 15.0539 | Autres | 135.432 | 136.7874 | 134.9028 | 147.4038 | 157.7448 | 168.0858 | 177.6708 | 179.5068 | 179.5068
ECS non-pilotable | 27.432 | 13.4541 | 2.1492 | 1.5725 | 0.89099 | 0.84239 | 0.79379 | 0.79379 | 0.79379 | Electrolyseurs | 0 | 17.3236 | 43.3855 | 47.9623 | 53.5593 | 62.7666 | 70.4617 | 70.8137 | 75.9123
Produits blancs pilotables | 0 | 17.072 | 24.1208 | 24.5044 | 25.4625 | 25.8009 | 26.6858 | 26.6859 | 26.6865
Produits blancs non-pilotables | 90.504 | 68.4288 | 56.3976 | 52.1791 | 47.385 | 44.0219 | 40.1112 | 40.1112 | 40.1112 | Consommation domestique | 467.6785 | 507.9943 | 553.8459 | 574.6747 | 594.3509 | 617.6122 | 638.5492 | 640.6442 | 645.737
Climatisation pilotable | 0 | 3.199 | 6.3441 | 8.1313 | 10.0912 | 12.1159 | 14.2865 | 14.2865 | 14.2866
Climatisation non-pilotable | 25.812 | 22.3965 | 19.035 | 18.9756 | 18.7434 | 18.1764 | 17.4636 | 17.4636 | 17.4636
VE pilotables | 0.038777 | 3.0229 | 6.9418 | 14.6946 | 26.8178 | 42.3213 | 61.2046 | 61.2057 | 61.2092
VE non-pilotables | 0.28507 | 7.0676 | 12.9152 | 22.0781 | 26.862 | 28.2604 | 26.2735 | 26.2735 | 26.2735 | Résumé Consommation pilotable | Consommation en TWh
Industrie pilotable | 25.4803 | 42.9729 | 63.6336 | 65.4304 | 66.9708 | 68.2546 | 69.282 | 69.282 | 69.282 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Industrie non-pilotable | 101.9214 | 100.27 | 95.4504 | 88.5235 | 81.8532 | 75.4393 | 69.282 | 69.282 | 69.282 | Chauffage pilotable | 0 | 8.1286 | 17.3269 | 19.5704 | 21.4008 | 22.2481 | 22.5191 | 22.4779 | 22.4751
Autres (non-pilotable) | 135.432 | 136.7874 | 134.9028 | 147.4038 | 157.7448 | 168.0858 | 177.6708 | 179.5068 | 179.5068 | Climatisation pilotable | 0 | 3.199 | 6.3441 | 8.1313 | 10.0912 | 12.1159 | 14.2865 | 14.2865 | 14.2866
Electrolyseurs optimisés | 0 | 9.5294e-11 | 9.4872 | 12.6898 | 16.6509 | 23.6278 | 29.4541 | 29.6005 | 33.8486 | ECS et produits blancs pilotables | 0 | 28.0586 | 43.4261 | 42.5529 | 42.3587 | 41.7755 | 41.7389 | 41.739 | 41.7404
Electrolyseurs quasi-base | 0 | 17.3236 | 33.8983 | 35.2725 | 36.9084 | 39.1388 | 41.0076 | 41.2132 | 42.0637 | Véhicules électriques pilotables | 0.038777 | 3.0229 | 6.9418 | 14.6946 | 26.8178 | 42.3213 | 61.2046 | 61.2057 | 61.2092
[10 empty] | Industrie pilotable | 25.4803 | 42.9729 | 63.6336 | 65.4304 | 66.9708 | 68.2546 | 69.282 | 69.282 | 69.282
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommations non-pilotables | 442.1594 | 405.2888 | 372.7878 | 376.3328 | 373.1523 | 368.1301 | 359.0564 | 360.8394 | 360.8314
STEP | 3.7744 | 3.8008 | 4.7841 | 10.0738 | 11.354 | 12.3127 | 13.064 | 13.4114 | 13.692 | Electrolyseurs optimisés | 0 | 9.5294e-11 | 9.4872 | 12.6898 | 16.6509 | 23.6278 | 29.4541 | 29.6005 | 33.8486
Batteries | 6.4212e-07 | 7.8197e-07 | 1.6951e-06 | 0.71694 | 0.78339 | 0.8448 | 1.0111 | 1.0884 | 1.0969 | Electrolyseurs quasi-base | 0 | 17.3236 | 33.8983 | 35.2725 | 36.9084 | 39.1388 | 41.0076 | 41.2132 | 42.0637
[10 empty] | Consommation gaz PAC hybrides | 0 | 0.81918 | 2.4274 | 2.6496 | 2.865 | 2.9181 | 3.1479 | 3.5833 | 3.6239

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 99.1079 | 118.2605 | 121.9918 | 126.1079 | 127.5151 | 129.3583 | 131.7421 | 136.6199 | 166.8148
Imports | 17.319 | 24.3207 | 40.4008 | 59.5631 | 82.184 | 106.9299 | 141.5512 | 161.4748 | 159.7854
Bilan exportateur net | 81.7889 | 93.9398 | 81.591 | 66.5448 | 45.3311 | 22.4284 | -9.8091 | -24.8549 | 7.0295
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Total | 6.9188e-07 | 0.0029825 | 0.1884 | 1.363 | 2.3885 | 3.8547 | 6.4104 | 9.5625 | 11.5307

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 30.0334 | 39.7336 | 41.3805 | 46.7097 | 55.5461 | 58.2626 | 63.4432 | 71.8911 | 69.2824
Moyenne énergie | 30.8223 | 41.5613 | 43.089 | 48.361 | 56.5886 | 58.7146 | 63.4157 | 71.7001 | 69.2648

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!