## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 59.35 | 53.0643 | 52.44 | 47.3107 | 31.27 | 20.6 | 23.8 | Prolongement nucléaire | 0 | 0 | 11.385 | 21.5193 | 19.9207 | 13.19 | 0.68 | 0 | 0
CCGT | 6.4615 | 15.4084 | 25.5089 | 24.7209 | 22.5359 | 19.9199 | 22.3047 | 19.2409 | 11.0956 | Nucléaire EPR | 0 | 0 | 0 | 6.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
OCGT | 1.85 | 1.3 | 2.4982 | 3.6007 | 2.5507 | 2.5507 | 3.577 | 2.1288 | 1.0263 | CCGT | 0.29751 | 8.9469 | 10.1005 | 0 | 0 | 0 | 3.2573 | 5.883 | 1.9552
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 3.0345e-06 | 1.4482 | 1.1026 | 0 | 0 | 1.0263 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 14.4 | 13.875 | 13.875 | 18.5136 | 19.0942 | 23.3 | 13.875
PV Sol | 4.6386 | 15.6 | 30 | 43.875 | 57.75 | 71.625 | 85.5 | 94.4 | 94.4 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0 | 5.7422 | 0 | 0
PV Toitures | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002 | PV Grandes Toitures | 3.8466 | 3.0767 | 3.0767 | 7 | 7 | 10.8466 | 10.0767 | 3.0767 | 7
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19 | PV Petites Toitures | 1.6158 | 0.24309 | 0.29038 | 4.6014 | 4.6658 | 6.0417 | 4.9032 | 1.6805 | 4.2474
Eolien en mer Flottant | 0 | 0.75 | 1 | 7.875 | 14.75 | 21.625 | 28.5 | 28.5 | 28.5 | Eolien en mer Posé | 0 | 2.1 | 4.9 | 3 | 3 | 3 | 5.1 | 4.9 | 3
Eolien Terrestre | 17.391 | 26.1955 | 35 | 40.5 | 46 | 51.5 | 63 | 75.6 | 90.72 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 6.875 | 6.875 | 6.875 | 7.625 | 0.25 | 6.875
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 8.8268 | 9.5824 | 10.1779 | 9.5502 | 13.3627 | 20.3268 | 22.1824 | 25.2979
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0.52665 | 10.6952 | 2.5457 | 0 | 16.0755 | 21.478 | 0.2103
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18 | 7.18
Batteries | 7.2129e-07 | 2.7576e-06 | 0.52666 | 11.2219 | 13.7676 | 13.7676 | 29.3164 | 40.0992 | 37.7638
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 3.6361e-07 | 0.85385 | 1.4445 | 2.0352 | 2.6259 | 3.2166 | 3.2166 | 3.2166
Electrolyseurs quasi-base | 0 | 0.26651 | 0.53302 | 1.2428 | 1.9525 | 2.6623 | 3.372 | 3.372 | 3.372
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 11.385 | 32.9043 | 41.44 | 33.1107 | 13.87 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 7.8 | 11 | 14.2 | 17.4 | 20.6 | 23.8
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 30 | 43.875 | 57.75 | 71.625 | 79.7578 | 88.6578 | 88.6578
PV Sol tracker | 0 | 1.2644e-10 | 1.0279e-09 | 2.175e-09 | 3.0628e-09 | 5.4439e-09 | 5.7422 | 5.7422 | 5.7422
PV Sol total | 4.6386 | 15.6 | 30 | 43.875 | 57.75 | 71.625 | 85.5 | 94.4 | 94.4
PV Grandes Toitures | 3.8466 | 6.9233 | 10 | 17 | 24 | 31 | 38 | 38 | 38
PV Petites Toitures | 1.6158 | 1.8094 | 2.002 | 6.502 | 11.002 | 15.502 | 20.002 | 20.002 | 20.002
PV Toitures total | 5.4624 | 8.7327 | 12.002 | 23.502 | 35.002 | 46.502 | 58.002 | 58.002 | 58.002
Eolien Terrestre | 17.391 | 26.1955 | 35 | 40.5 | 46 | 51.5 | 63 | 75.6 | 90.72
Eolien en mer Posé | 0 | 2.1 | 7 | 10 | 13 | 16 | 19 | 19 | 19
Eolien en mer Flottant | 0 | 0.75 | 1 | 7.875 | 14.75 | 21.625 | 28.5 | 28.5 | 28.5
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 81.0971 | 112.7209 | 153.4709 | 194.2209 | 234.9709 | 281.7209 | 303.2209 | 318.3409
Pour toutes les années, les 25,3 GW de capacité Hydro intègrent les 5,2 GW de STEP identifiées en 2020.

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8918 | 411.1894 | 371.3093 | 323.1292 | 311.6709 | 277.6445 | 187.6884 | 125.3556 | 142.11 | Nucléaire | 408.8918 | 411.1894 | 371.3093 | 323.1292 | 311.6709 | 277.6445 | 187.6884 | 125.3556 | 142.11
CCGT | 2.5741 | 17.1603 | 27.6209 | 33.2864 | 31.2645 | 31.3521 | 37.4322 | 36.1159 | 19.0192 | Turbines Gaz | 2.5766 | 17.1649 | 27.6337 | 33.3105 | 31.2921 | 31.4437 | 37.7506 | 36.3991 | 19.1572
OCGT | 0.0025647 | 0.0045448 | 0.012743 | 0.024129 | 0.027579 | 0.091527 | 0.31832 | 0.28314 | 0.13802 | Autres thermiques | 20.8891 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 12.5349 | 32.5767 | 53.145 | 85.2048 | 115.5549 | 146.9937 | 180.1697 | 192.0183 | 192.0162
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 59.5673 | 84.1143 | 102.5819 | 121.2326 | 142.3573 | 174.4949 | 209.5871 | 251.5537
PV Sol | 5.9719 | 21.1986 | 37.2096 | 54.2807 | 71.0911 | 88.2359 | 107.0091 | 118.6424 | 118.6424 | Eolien en mer | 0 | 9.613 | 26.2186 | 61.198 | 98.0658 | 132.3065 | 166.8456 | 166.8456 | 166.6663
PV Toitures | 6.563 | 11.3782 | 15.9354 | 30.9241 | 44.4638 | 58.7578 | 73.1606 | 73.3759 | 73.3738 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5254 | 63.5249
Eolien en mer Posé | 0 | 6.9073 | 22.5867 | 32.9407 | 43.5657 | 53.6249 | 62.2597 | 62.2597 | 62.2597 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 28.2572 | 54.5001 | 78.6816 | 104.5859 | 104.5859 | 104.4066
Eolien Terrestre | 34.7883 | 59.5673 | 84.1143 | 102.5819 | 121.2326 | 142.3573 | 174.4949 | 209.5871 | 251.5537 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8918 | 411.1894 | 371.3093 | 323.1292 | 311.6709 | 277.6445 | 187.6884 | 125.3556 | 142.11
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 2.5766 | 17.1649 | 27.6337 | 33.3105 | 31.2921 | 31.4437 | 37.7506 | 36.3991 | 19.1572
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 20.8891 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 118.4426 | 173.2911 | 235.0119 | 320.5186 | 406.3873 | 493.1915 | 593.0441 | 639.9848 | 681.7695
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5254 | 63.5249 | Part renouvelable | 21.5% | 28.48% | 36.81% | 47.2% | 54.23% | 61.47% | 72.46% | 79.82% | 80.87%
Total | 550.8001 | 608.4541 | 638.3771 | 678.994 | 749.3503 | 802.2796 | 818.483 | 801.7395 | 843.0367 | Part nucléaire | 74.24% | 67.58% | 58.16% | 47.59% | 41.59% | 34.61% | 22.93% | 15.64% | 16.86%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6788 | 505.4772 | 542.7102 | 611.7592 | 679.9404 | 749.1897 | 814.288 | 816.069 | 818.3775
STEP | 3.0523 | 3.9769 | 5.591 | 8.5818 | 10.1667 | 11.0104 | 10.7939 | 10.5485 | 11.0003
Batteries | 3.6812e-06 | 1.2092e-05 | 0.22879 | 4.505 | 6.2087 | 6.8066 | 13.9656 | 19.4915 | 18.8846
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 2.018e-10 | 1.8283 | 2.8541 | 5.2364 | 7.4303 | 8.6983 | 8.2659 | 9.5058
Electrolyseurs quasi-base | 0 | 1.5293 | 2.961 | 6.8768 | 10.961 | 15.2396 | 19.2628 | 19.2501 | 19.7358
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.1986 | 37.2096 | 54.2807 | 71.0911 | 88.2359 | 96.9085 | 108.5418 | 108.5418
PV Sol tracker | 0 | 9.0686e-11 | 7.2761e-10 | 1.4314e-09 | 2.0295e-09 | 3.9051e-09 | 10.1006 | 10.1006 | 10.1006
PV Sol total | 5.9719 | 21.1986 | 37.2096 | 54.2807 | 71.0911 | 88.2359 | 107.0091 | 118.6424 | 118.6424
PV Grandes Toitures | 4.5458 | 9.1058 | 13.4093 | 22.4703 | 30.0823 | 38.4485 | 47.1319 | 47.1389 | 47.1573
PV Petites Toitures | 2.0172 | 2.2724 | 2.5261 | 8.4538 | 14.3816 | 20.3093 | 26.0287 | 26.237 | 26.2165
PV Toitures total | 6.563 | 11.3782 | 15.9354 | 30.9241 | 44.4638 | 58.7578 | 73.1606 | 73.3759 | 73.3738
Eolien Terrestre | 34.7883 | 59.5673 | 84.1143 | 102.5819 | 121.2326 | 142.3573 | 174.4949 | 209.5871 | 251.5537
Eolien en mer Posé | 0 | 6.9073 | 22.5867 | 32.9407 | 43.5657 | 53.6249 | 62.2597 | 62.2597 | 62.2597
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 28.2572 | 54.5001 | 78.6816 | 104.5859 | 104.5859 | 104.4066
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5255 | 63.5254 | 63.5249
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 118.4426 | 173.2911 | 235.0119 | 320.5186 | 406.3873 | 493.1915 | 593.0441 | 639.9848 | 681.7695
Les données permettent de vérifier :
Production totale + Production du stockage + Imports = Consommation domestique + Consommation du stockage + Exports + Ecrêtement
Consommation domestique = Somme des composantes sectorielles de la demande qui incluent les pertes
Les pertes représentent 8% de chacune des consommations par usage présentées dans l'onglet Consommation

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 2.0344 | 3.272 | 4.1871 | 4.6218 | 4.3713 | 4.1574 | 4.1575 | 4.1575 | Chauffage Joule | 48.5791 | 40.6933 | 32.7236 | 27.9174 | 23.1114 | 19.8714 | 16.6314 | 16.6315 | 16.6315
Chauffage Joule non-pilotable | 48.5791 | 38.659 | 29.4516 | 23.7303 | 18.4896 | 15.5002 | 12.474 | 12.474 | 12.474 | Chauffage PAC | 12.1941 | 23.4567 | 34.8101 | 38.3175 | 41.8295 | 41.0512 | 40.2035 | 40.1006 | 40.0734
Chauffage PAC pilotable | 0 | 1.0931 | 3.0019 | 4.92 | 7.1104 | 7.6571 | 8.5116 | 8.51 | 8.5119 | ECS et produits blancs | 117.936 | 111.1587 | 104.3883 | 101.8758 | 99.362 | 97.6036 | 95.8469 | 95.8473 | 95.8485
Chauffage PAC non-pilotable | 12.1941 | 20.738 | 26.9525 | 27.8076 | 28.3526 | 27.0495 | 25.4493 | 25.4492 | 25.4492 | Climatisation | 25.812 | 26.8648 | 27.9176 | 30.1584 | 32.3991 | 34.505 | 36.6108 | 36.6108 | 36.6108
Chauffage PAC hybride pilotable | 0 | 0.081493 | 0.48732 | 0.84157 | 1.2783 | 1.4015 | 1.5667 | 1.5411 | 1.5352 | Véhicules électriques | 0.32384 | 22.2382 | 44.1506 | 68.3915 | 92.6164 | 116.8462 | 141.0729 | 141.0738 | 141.0765
Chauffage PAC hybride non-pilotable | 0 | 1.5441 | 4.3684 | 4.7484 | 5.0882 | 4.9432 | 4.6759 | 4.6003 | 4.5771 | Industrie | 127.4018 | 137.7889 | 148.176 | 149.661 | 151.146 | 152.631 | 154.116 | 154.116 | 154.116
ECS pilotable | 0 | 9.3993 | 15.6946 | 14.7027 | 13.711 | 13.1506 | 12.5902 | 12.5904 | 12.5912 | Autres | 135.432 | 141.21 | 144.072 | 182.2878 | 217.5876 | 256.0464 | 292.0212 | 294.5052 | 294.5052
ECS non-pilotable | 27.432 | 14.1264 | 3.9312 | 3.6828 | 3.4344 | 3.294 | 3.1536 | 3.1536 | 3.1536 | Electrolyseurs | 0 | 2.0666 | 6.472 | 13.1498 | 21.8884 | 30.635 | 37.7853 | 37.1838 | 39.5156
Produits blancs pilotables | 0 | 4.3731 | 8.4606 | 10.0007 | 12.3109 | 14.584 | 15.9943 | 15.9945 | 15.9949
Produits blancs non-pilotables | 90.504 | 83.2599 | 76.302 | 73.4897 | 69.9057 | 66.575 | 64.1088 | 64.1088 | 64.1088 | Consommation domestique | 467.6788 | 505.4772 | 542.7102 | 611.7592 | 679.9404 | 749.1897 | 814.288 | 816.069 | 818.3775
Climatisation pilotable | 0 | 1.3431 | 2.7914 | 4.5232 | 6.4791 | 7.5903 | 9.1518 | 9.1518 | 9.1519
Climatisation non-pilotable | 25.812 | 25.5217 | 25.1262 | 25.6351 | 25.92 | 26.9147 | 27.459 | 27.459 | 27.459
VE pilotables | 0.038777 | 3.33 | 8.8174 | 11.6109 | 23.1261 | 31.5114 | 42.2748 | 42.2757 | 42.2784
VE non-pilotables | 0.28507 | 18.9082 | 35.3332 | 56.7806 | 69.4902 | 85.3348 | 98.7982 | 98.7982 | 98.7982 | Résumé Consommation pilotable | Consommation en TWh
Industrie pilotable | 25.4803 | 41.3367 | 59.2704 | 63.6059 | 68.0157 | 72.4997 | 77.058 | 77.058 | 77.058 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Industrie non-pilotable | 101.9214 | 96.4522 | 88.9056 | 86.0551 | 83.1303 | 80.1313 | 77.058 | 77.058 | 77.058 | Chauffage pilotable | 0 | 3.209 | 6.7611 | 9.9487 | 13.0104 | 13.4298 | 14.2358 | 14.2086 | 14.2046
Autres (non-pilotable) | 135.432 | 141.21 | 144.072 | 182.2878 | 217.5876 | 256.0464 | 292.0212 | 294.5052 | 294.5052 | Climatisation pilotable | 0 | 1.3431 | 2.7914 | 4.5232 | 6.4791 | 7.5903 | 9.1518 | 9.1518 | 9.1519
Electrolyseurs optimisés | 0 | 2.727e-10 | 2.4707 | 3.8568 | 7.0763 | 10.0409 | 11.7545 | 11.1702 | 12.8456 | ECS et produits blancs pilotables | 0 | 13.7724 | 24.1552 | 24.7034 | 26.022 | 27.7346 | 28.5845 | 28.585 | 28.5861
Electrolyseurs quasi-base | 0 | 2.0666 | 4.0013 | 9.2929 | 14.8122 | 20.5941 | 26.0308 | 26.0136 | 26.67 | Véhicules électriques pilotables | 0.038777 | 3.33 | 8.8174 | 11.6109 | 23.1261 | 31.5114 | 42.2748 | 42.2757 | 42.2784
[10 empty] | Industrie pilotable | 25.4803 | 41.3367 | 59.2704 | 63.6059 | 68.0157 | 72.4997 | 77.058 | 77.058 | 77.058
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommations non-pilotables | 442.1596 | 440.4194 | 434.4426 | 484.2173 | 521.3986 | 565.7889 | 605.1978 | 607.6062 | 607.583
STEP | 3.7683 | 4.9098 | 6.9025 | 10.5949 | 12.5516 | 13.5932 | 13.3259 | 13.023 | 13.581 | Electrolyseurs optimisés | 0 | 2.727e-10 | 2.4707 | 3.8568 | 7.0763 | 10.0409 | 11.7545 | 11.1702 | 12.8456
Batteries | 1.1842e-06 | 1.3533e-06 | 0.27124 | 5.3449 | 7.3626 | 8.07 | 16.5632 | 23.122 | 22.4018 | Electrolyseurs quasi-base | 0 | 2.0666 | 4.0013 | 9.2929 | 14.8122 | 20.5941 | 26.0308 | 26.0136 | 26.67
[10 empty] | Consommation gaz PAC hybrides | 0 | 0.78114 | 2.3777 | 2.7755 | 3.1906 | 3.3442 | 3.7569 | 4.2092 | 4.3204

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 99.7145 | 123.9928 | 130.3949 | 121.5032 | 137.4052 | 143.5342 | 135.8758 | 137.4724 | 172.1418
Imports | 17.0522 | 21.9436 | 36.4498 | 58.7788 | 75.3659 | 101.6732 | 146.2143 | 169.1261 | 168.3047
Bilan exportateur net | 82.6623 | 102.0492 | 93.9451 | 62.7244 | 62.0394 | 41.861 | -10.3386 | -31.6537 | 3.837
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Total | 8.1859e-07 | 0.0065067 | 0.38236 | 1.6784 | 3.8565 | 7.4752 | 9.5411 | 11.4503 | 14.9719

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 29.9412 | 38.8066 | 37.354 | 44.9428 | 49.868 | 56.0746 | 66.8053 | 75.107 | 78.7534
Moyenne énergie | 30.6963 | 41.4504 | 39.9489 | 47.7339 | 52.801 | 60.3099 | 71.1905 | 79.3331 | 83.8895

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!